## Cover
Knowledge Retention
Congratulations on your new position or upcoming retirement! You play a crucial role here and we value your knowledge and expertise. To ensure that we can transition your responsibilities to one or more people after you depart, we ask that you assist us by answering the questions in this spreadsheet. Our intent is to help transition your responsibilities to different people, it is not intended to be used as a official job description as it relates to your employment. It is to ensure that none of your responsibilities are forgotten.
Please note, our system may have specific policies regarding records management and retention. Prior to filling out this spreadsheet, please be sure to consult with the management team. They will be able to provide you with supplementary instructions and information on any additional requirements.
This spreadsheet is designed to document the various actions you complete and responsibilities you hold throughout the course of your work: it is meant to serve as a recordkeeping device. For this reason, it may be beneficial to fill this out long before your last day, as it may help you to keep track of your many responsibilities in your remaining time here.
This spreadsheet does not need to be completed all at once; in fact it may help to work on it as you complete the different activities it asks about. You may find it helpful to talk to coworkers and your supervisor as you answer the questions, or to set aside some quiet time to review it. As time goes by, you’ll work on and remember different components of your job.
You can keep track of when you've last updated various sections of this spreadsheet in the Handoff Checklist tab.
What’s Ahead
This spreadsheet has two types of data collection:
1] General, Quick Response, System Operation, and Administration, for key data about your responsibilities.
2] Handoff Checklist, which is used to track the completion of the other sheets.
Instructions
Complete the information on each of the sheets along the bottom of this spreadsheet. In each, there is one or more tables to fill out. Please look for specific instructions at the top of each of these sheets regarding their contents. A few general reminders are below:
• Please complete the tables with the answers to the prompts. We have provided extra rows in case you need them.
• If you already have the information requested in another location, like a notebook or in a file folder, you can reference that location in the table. For example, "See binder labeled "Internship MOAs (G-J) on the 2nd shelf in the bookshelf." Be as specific as possible and make sure that all notebooks and folders and clearly labeled.

## Table of Contents
Contents |  |  | Progress through the spreadsheet
|  |  | 0 | 0
Sheet No. | Type of Resource | Description | Information Captured
1 | Checklist | Handoff Checklist | Review and acknowledgement that everything has been documented
2 | General | System Overview | General system information
3 | Administrative | Documents | Important documents for system operation
4 | General | People | Important contacts and their information
5 | General | Source Water | Source water information
6 | Quick Response | Emergencies | Emergency preparedness contacts and documents
7 | Quick Response | Security | Security system information
8 | System Operation | Filtration and Treatment | Water treatment mechanisms
9 | System Operation | Process Monitoring and Sampling | Sampling techniques and frequencies for compliance and process monitoring
10 | System Operation | Operational Supplies | Supplies used in standard operation and where they can be obtained
11 | System Operation | System Maintenance | Maintenance and flushing activities
12 | System Operation | Storage | Water storage information
13 | System Operation | Distribution | Distribution infrastructure and information
14 | Administrative | Rules and Regulations | Applicable legislation
15 | Administrative | Technology | Operational system software usage
16 | Administrative | Operator Certification | Operator certification information
17 | Other | Neighboring Utilities | Contact and additional information about neighboring utilities
18 | Other | Other Information | Miscellaneous water system information
Last Updated: | 2020-09-30 22:56

## 1. Handoff Checklist
Handoff Checklist |  |  | Progress Through the Spreadsheet
Return to Contents Tab |  |  | 0
Instructions: Please enter dates when each section of the spreadsheet is completed and reviewed.
This page can be filled as you progress through the spreadsheet
Name of Separating Employee | {Entered Name Links to Other Sheets}
Job Title
Length of Time in Position
Supervisor
General
Section | Date You Completed the Sheet (or enter N/A) | Date Sheet Was Reviewed by Supervisor
2. General System Information
2. System Owner Contact Information
3. Documents: SOPs
3. Documents: Logs, Plans, Operations
3. Documents: Historical Reference
3. Documents: Key Files
4. People: Key Emergency Contacts
4. People: System's Staff
4. People: Lab
4. People: Contractors
4. People: Local and State Government
4. People: Neighboring Systems
4. People: Vendors
4. People: Other: Schools, Media, etc.
5. Source Water: Characteristics
5. Source Water: Monitoring
5. Source Water: Vulnerabilities
Quick Response
Section | Date You Completed the Sheet (or enter N/A) | Date Sheet Was Reviewed by Supervisor
6. Emergencies: Response Documents
6. Emergencies: System Alarms
6. Emergencies: Generators
7. Overall Water System Security
7. Facility Security Systems
System Operation
Section | Date You Completed the Sheet (or enter N/A) | Date Sheet Was Reviewed by Supervisor
8. Treatment: Filtration
8. Treatment: Disinfection
8. Treatment: Additional
9. Sampling: Process Monitoring Samples
9. Sampling: Lab Analysis
10. Operational Supplies: Equipment
10. Operational Supplies: Chemicals
10. Operational Supplies: Pumps
11. System Maintenance: General
11. System Maintenance: Flushing
12. System Operations: Storage
13. Distribution: Piping
13. Distribution: Valves
Administration
Section | Date You Completed the Sheet (or enter N/A) | Date Sheet Was Reviewed by Supervisor
14. Rules and Regulations: Relevant
14. Rules and Regulations: Permits
14. Rules and Regulations: Waste Disposal
15. Technology: Software
16. Operator Certification: Information
16. Operator Certification: Opportunities
17. Neighboring Utilities: Contacts
17. Neighboring Utilities: Additional
18. Other Information
Request to Contact You
May we contact you if we have additional questions after your last day?
If so, what phone number and/or email address should we use to reach you?
Phone Number
Email Address
Acknowledgement of Completion
Please print and sign this page upon completion of the spreadsheet and checklist.
Employee
Supervisor

## 2. System Overview
General: System Overview
{Entered Name Links to Other Sheets}
Return to Handoff Checklist
Return to Contents Tab
Fill in the below tables (2) regarding general system information
In the first table, provide general information about the water system
In the second table, provide the system owner's contact information
Return to Handoff Checklist | Return to Contents
General System Information | Response
Water System Name
PWSID
Classification Type (Community, Transient, etc.)
Water Source(s) Type
Estimated daily water production
What area does the system supply? (Name towns, or areas within towns)
Number of Connections
Critical Customers (Hospitals, schools, etc. Contact information can be added to sheet 3.)
Estimated Population of the System
Operator Required (Types, Numbers)
Other Systems that the System is Connected to or Has Formal or Informal Agreements With (Sheet 17)
Return to Handoff Checklist | Return to Contents
System Owner Contact Information | Response
Name
Phone Number
Email
Mailing Address

## 3. Documents
Administration: Important Documents
{Entered Name Links to Other Sheets}
Fill in the following tables (4) with information regarding the documents you maintain
Standard Operating Procedures (SOPs)
Logs, Sampling Plans, and Other Operation Documents
Historical Reference Documents (ex: Past Sanitary Surveys)
Key Files
*Please note that columns may extend past the initial view of your screen.
Standard Operating Procedures (SOPs) |  | Return to Handoff Checklist | Return to Contents
Name | Purpose | Physical or Electronic Location | How frequently is this document updated? | Person Responsible for Updating Document | Date of Most Recent Update
Logs, Sampling Plans, and Other Operation Documents |  | Return to Handoff Checklist | Return to Contents
Log or Document Name | Description | Physical or Electronic Location | How Frequently is this Document Updated? | Person Responsible for Updating Document | Date of Most Recent Update
Historical Reference Documents (ex: Past Sanitary Surveys) |  | Return to Handoff Checklist | Return to Contents
Document Name | Description | Physical or Electronic Location | How is the Document Used? | Person Responsible for Updating Document
Key Files | Return to Handoff Checklist | Return to Contents
File Name | Purpose | Physical or Electronic Location | File Path (if electronic) | Frequency of Use | Person Responsible for Updating Document | Date of Most Recent Update

## 4. People
General: People
{Entered Name Links to Other Sheets}
Fill in the below tables (8) with important contacts and their contact information
Key Emergency Contacts
System's Staff Contacts
Lab Contacts
Contractor Contacts
Local and State Government Contacts
Neighboring Systems Contacts
Vendor Contacts
Other Key Contacts: Schools, Medical, Tribes, Media, etc.
*Please note that columns may extend past the initial view of your screen.
Key Emergency Contacts (More Information on Sheet 6) |  | Return to Handoff Checklist | Return to Contents
Organization (Hospital, Fire Department, etc.) | Contact Person (if applicable) | Title | Phone number | Email Address | Address
Fire Department
Police Department
Emergency Medical Services
State Emergency Management Office
Hospital
Urgent Care Facility
WARN
System's Staff Contacts |  | Return to Handoff Checklist | Return to Contents
For a small system provide contact information for all operators.
For systems with contract operators, contact information as well as services are provided, and grade(s) of operators provided.
For a large system provide information for operators and when they should be contacted.
Operator Name | Position | Phone Number | Email Address | What services does the contract operator provide? | What grade(s) of operators are provided by the contract operator? | When should this operator be contacted?
Lab Contacts (More Information on Sheet 9) |  | Return to Handoff Checklist | Return to Contents
Name of Lab | Phone number | Email Address | Address
Contractor Contacts (e.g., Emergency Repairs) |  | Return to Handoff Checklist | Return to Contents
Name | Company (if applicable) | Service Provided | Phone Number | Email Address | Address
Local and State Government Contacts |  | Return to Handoff Checklist | Return to Contents
Name | Position | Office or Department | Phone Number | Email Address | Address | When should they be contacted?
State Primacy Agency
State Primacy Agency | Capacity Development Coordinator
State Primacy Agency | Operator Certification Coordinator
Board Chair
Town Hall
Mayor
Neighboring Systems Contacts |  | Return to Handoff Checklist | Return to Contents
{Entire table below linked to Sheet 17} | Go to Sheet 17
System Name | Contact Person | Position | Phone Number | Email Address | Are your systems interconnected? | Do you have any emergency agreements with them? | When should they be contacted?
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Vendor Contacts | Return to Handoff Checklist | Return to Contents
Name | Company (if applicable) | Service Provided | Phone Number | Email Address | Address
Other Key Contacts (Schools, Tribes, Media, etc.) |  |  | Return to Handoff Checklist | Return to Contents
Name | Position | Organization/Company | Phone number | Email Address | Address

## 5. Source Water
General - Source Water
{Entered Name Links to Other Sheets}
Fill in the below tables (3) regarding your source water
Source Water Characteristics
Source Water Monitoring
Source Water Vulnerabilities
*Please note that columns may extend past the initial view of your screen.
Source Water Characteristics |  | Return to Handoff Checklist | Return to Contents
Detail the specifics of your system's source water
Source Water Type (SW, GW) | What is the name of each source water? | Where is the source located? | Name of Watershed (If applicable) | What is the size of the watershed (square miles)? | Are there any water rights issues regarding the watershed? | What percentage of the watershed land is owned by the water system? | Known Point Sources of Pollution Within Watershed (factories, sewage treatment facilities, etc.) | Known Non-Point Sources of Pollution Within Watershed (farmland, etc.) | For ground water supplies, is there a map that shows the area of influence? If so, where is it located? | Are there any potential sources of pollution in the well's area of influence? | Additional Watershed Characteristics
Source Water Monitoring |  | Return to Handoff Checklist | Return to Contents
What are the parameters that you monitor for in your source water? How does that sampling process occur?
Parameter Monitored | Where are your sampling locations? | Describe the monitoring process | How frequently do you monitor this parameter? | What equipment is necessary for the monitoring/sampling and where is it stored? | Who calibrates the field instruments? | Do you have a written SOP for calibrating field instruments and collecting samples? | Are there state or federal regulations related to this parameter? | When did the most recent monitoring occur? | Who analyzes the sample (if applicable)? | Additional Monitoring Comments
Source Water Vulnerabilities |  | Return to Handoff Checklist | Return to Contents
What are your source water's vulnerabilities?
Contaminant Name | How frequently does this contaminant appear in your source water? | Source of Contaminant (if known) | Mitigation Actions You Take If the Contaminant is Detected in Source Water | Who (if anyone) should be contacted if this contaminant is detected in source water? | Are there any ongoing actions to prevent the contaminant from entering source water?

## 6. Emergencies
Quick Response: Emergencies
{Entered Name Links to Other Sheets}
Fill in the following tables (3) regarding Emergencies
Emergency Response Documents
System Alarms
Emergency Generators
*Please note that columns may extend past the initial view of your screen.
4. Key Emergency Contacts
Emergency Response Documents |  | Return to Handoff Checklist | Return to Contents
Document Name | Type of Emergency Response Plan (examples provided) | Physical or Electronic? | What situation does it address? | Is this document confidential? | Who has copies of this document? | Where is it located? | When was it last updated? | How often are tabletop or field exercises conducted so that staff members are familiar with the emergency plans?
Water System Emergency Response Plan
Town Emergency Response Plan
State Emergency Response Plan
Rural & Small Water and Wastewater System Emergency Response Plan
Disaster-Specific Preparedness/Response Plan
Emergency Response Plan of Action
System Alarms | Return to Handoff Checklist | Return to Contents
Set Points for Pumps | Set Points for Storage Equipment | Set Points for Treatment Equipment | Set points for Pressure Issues | How are you notified of an alarm? | How are the triggers resolved?
Emergency Generators | Return to Handoff Checklist | Return to Contents
Type (Make/Model) | KW Provided | Type of Plug Used | Location | Does it turn on automatically or manually? | What equipment does this generator provide power for? | Is the generator sized to power all of this equipment? | Is there a carbon monoxide detector installed? | Frequency of exercising (loaded and unloaded) tests/maintenance checks | Date of Last Maintenance Check | Who Conducts the Maintenance Checks? | Contact Information (if applicable)

## 7. Security
Quick Response: Security
{Entered Name Links to Other Sheets}
Fill in the following tables (2) regarding Emergencies
Overall Water System Security
Facility Security Systems
Overall Water System Security System |  | Return to Handoff Checklist | Return to Contents
What security measures does your system have in place?
*Please note columns may extend past the initial view of your screen.
Do you have a security system in place? | Briefly, how does it work? | Who is in charge of its operation? | Are there regular tests or drills? | What is the schedule for regular tests or drills? | What company installed and maintains the system? | What is their contact information? | If the security system triggers, how are you notified? | If the security triggers, what is the immediate response?
Facility Security Systems |  | Return to Handoff Checklist | Return to Contents
Do you have security cameras at remote facilities (e.g., tanks, pump stations)? | Facility Name (if applicable) | Are they in operable condition? Where is the video feed transmitted? | What is the protocol for accessing SCADA? | Are there critical passwords needed to access the system? If so, what are they? | Does the water system have any security needs (e.g., fencing, cameras, staff training, etc.)?

## 8. Treatment
System Operation: Filtration and Treatment
{Entered Name Links to Other Sheets}
Fill in the following tables (3) regarding various water treatment mechanisms you use
Filtration
Disinfection
Additional Treatment
*Please note that columns may extend past the initial view of your screen.
Filtration | Return to Handoff Checklist | Return to Contents
What filtration methods do you use in your system?
Filtration Type | How frequently is this technique used? | How often are the filters backwashed? | What parameters are used to determine when a filter needs to be backwashed (time, pressure, turbidity?) | How often does the filter media need to be replaced? | When was the media last replaced?
Disinfection | Return to Handoff Checklist | Return to Contents
What disinfection methods do you use in your system?
Disinfection Type | Contaminant Treated | Location in the System | Frequency of Application | What is the dosage (if applicable)? | What upkeep is necessary? | Necessary Chemicals, Equipment, Etc.
Additional Treatment Methods |  | Return to Handoff Checklist | Return to Contents
Are there any further treatment methods you use in your system?
Treatment Method | Location | Frequency of Use | What is the dosage (if applicable)? | What upkeep is necessary? | Necessary Chemicals, Equipment, Etc.

## 9. Process Monitoring-Sampling
System Operation: Process Monitoring and Sampling
{Entered Name Links to Other Sheets}
Fill in the following tables (2) regarding various samples you collect for compliance and to ensure the treatment processes are working correctly.
Process Monitoring Samples
Sample Collection for Lab Analysis
*Please note that columns may extend past the initial view of your screen.
Process Monitoring Samples |  | Return to Handoff Checklist | Return to Contents
What sampling do you conduct within your facility?
*Please note columns may extend past the initial view of your screen.
Water Quality Parameter | When are measurements taken? | Instrument Make and Model | Calibration Frequency for Instrument | When was the instrument last calibrated? | Is there a SOP for collecting process monitoring samples?
Sample Collection for Lab Analysis |  | Lab Contacts on Sheet 4 | Return to Handoff Checklist | Return to Contents
Type of Sample Collected (water quality parameter, total coliform, VOC, etc.) | Sampling Frequency (e.g., monthly, quarterly, annually, once every 3 years) | When should the next sample be collected? (e.g., compliance date) | Name of Lab (contact information can be added to Sheet 4) | Name of Sample Collector(s) | Is sampler certified? | Is there a SOP for sample collection?

## 10. Operational Supplies
System Operation: Supplies
{Entered Name Links to Other Sheets}
Fill in the following tables (3) regarding the various operational supplies you use
Equipment
Chemicals
Pumps
*Please note that columns may extend past the initial view of your screen.
Equipment | Return to Handoff Checklist | Return to Contents
What equipment do you use and maintain for your system's operation?
Name | What is this piece of equipment used for? | Where is this piece of equipment stored? | Where are the instructions and equipment documentation stored? | Does this piece of equipment require any maintenance or regular calibration? | If yes, when was it last reviewed for maintenance or calibrated? | How often does this piece of equipment need to be replaced (e.g., expected useful life)? | When was this piece of equipment last replaced? | Manufacturer Contact Information (website, phone number, address)
Chemicals | Return to Handoff Checklist | Return to Contents
What chemicals do you use for your system's operation?
Chemical Name | What is this chemical used for? | What is the proper dosage? | Where is this chemical kept? | Chemical Supplier | Supplier Contact Information (website, address, phone, etc.) | If primary supplier is not available, what is the name of an alternate chemical supplier? | Alternate Supplier Contact Information (website, address, phone, etc.) | How often are refills necessary? | Is this product certified by NSF for use in drinking water?
Pumps | Return to Handoff Checklist | Return to Contents
What pumps does your system operate?
Pump Name/ID | Pump Schedule | Pump Cycling | Pump Operating Set Points | What routine maintenance is performed? | Date of Most Recent Maintenance Activity | Date of Most Recent Pump Replacement

## 11. System Maintenance
System Operation: Maintenance
{Entered Name Links to Other Sheets}
Fill in the following tables (2) regarding maintenance of your system
General Maintenance
Flushing Information
*Please note columns may extend past the initial view of your screen.
General Maintenance | Return to Handoff Checklist | Return to Contents
What maintenance activities do you regularly perform?
What maintenance do you perform regularly? | How frequently do you perform this activity? | Who do you contact when a piece is in need of repair or replacement? | Contact Information (website, phone number, etc.)
Flushing Information | Return to Handoff Checklist | Return to Contents
What is the flushing process for your system?
Do you conduct regular system flushing? | Is there a flushing plan/schedule and where is a copy located? | If there is no flushing plan in place, please list the top 5-10 areas where flushing is most critical. | When was the last system flushing?

## 12. Storage
System Operation: Storage
{Entered Name Links to Other Sheets}
Storage Tanks | Return to Handoff Checklist | Return to Contents
What water storage infrastructure does your system have?
*Please note columns may extend past the initial view of your screen.
Tank Name or ID | Tank Type (standpipe, ground level, elevated, buried, etc.) | Tank Volume (Million gallons) | Tank Operating Levels (high and low, in feet) | Last Inspection Date | Were any repairs identified in the last inspection report? If yes, were these repairs completed? | Last Cleaning Date | Last Date of Interior Coating | Last Date of Exterior Coating

## 13. Distribution
System Operation: Distribution
{Entered Name Links to Other Sheets}
Fill in the following tables (2) regarding your distribution system.
Water System Pipes
Water System Valves (Distribution System)
*Please note columns may extend past the initial view of your screen.
3. Other Operations Document to record information about the distribution system map
Water System Pipes | Return to Handoff Checklist | Return to Contents
Provide information regarding your distribution system pipes.
| Miles of Mains or Number of Service Lines | Material of Construction (e.g., ductile iron, cast iron, PVC, high density polyethylene, steel, asbestos cement, other) | Average Number of Water Main Breaks per Year | Water main replacement program: how many feet of old water main are replaced each year?
Transmission Mains
Distribution Mains
Customer Service Lines
Water System Valves | Return to Handoff Checklist | Return to Contents
Provide information regarding your distribution system valves.
Do you have a valve inspection program? If so, how often are valves inspected? | Is the location of all system valves known? If so, are they located with GPS data? | Name of Supplier (contact information can be entered on Sheet 4.)

## 14. Rules and Regulations
Administration: Rules and Regulations
{Entered Name Links to Other Sheets}
Fill in the following tables (3) regarding the relevant regulations, permits and waste disposal processes your system must follow.
Relevant Rules and Regulations
Required Permits for Operations
Waste Disposal
*Please note columns may extend past the initial view of your screen.
Relevant Rules and Regulations |  | Return to Handoff Checklist | Return to Contents
What rules (local, state, and federal) apply to your system?
Rule | Brief Summary | Local, State, or Federal? | Relevance to Your System | Where to find more information on the rule and its requirements (link to source document online, reference number, etc.)?
Required Permits for Operations |  | Return to Handoff Checklist | Return to Contents
What permits are you required to have to operator your system?
Permit | Where can this permit be obtained? | Does this permit require renewal? If yes, when does the renewal process need to be started? | Address | Website URL | Phone Number
Waste Disposal | Return to Handoff Checklist | Return to Contents
Contact Information can be entered on Sheet 4
Type of Waste (floc from treatment, unused chemicals) | Volume Produced (gallons per day) | Disposal Method

## 15. Technology
Administration: Technology
{Entered Name Links to Other Sheets}
Software and/or Web-based Programs and Tools |  | Return to Handoff Checklist | Return to Contents
What software do you use as part of your system's operation?
*Please note that columns may extend past the initial view of your screen.
Program Name | Description and Use | Installed on the computer or accessed online? | License purchase necessary? | Cost (if applicable) | Frequency of Use | Location of Manuals, Instructions, Job Aids, Etc. (including links to online resources) | Available Training

## 16. Operator Certification
Administration: Operator Certification
{Entered Name Links to Other Sheets}
Fill in the following tables (2) regarding the system's operator certification requirements and where there may be additional opportunities in the area.
Operator Certification Information
Certification and Training Opportunities
*Please note columns may extend past the initial view of your screen.
Operator Certification Information | Return to Handoff Checklist | Return to Contents
What are the certification requirements to operate the system? How are they achieved?
Level Required | Renewal Frequency | Hours Required for Renewal | Renewal Contact Information
Certification and Training Opportunities | Return to Handoff Checklist | Return to Contents
Program Name | Program Location | Program Website

## 17. Neighboring Utilities
Neighboring Utilities
{Entered Name Links to Other Sheets}
Fill in the below tables (2) with important contacts and their contact information
Neighboring Systems Contacts
Additional Information About Neighboring Systems
*Please note that columns may extend past the initial view of your screen.
Neighboring Systems Contacts |  | Neighboring Systems Contacts on Sheet 4 | Return to Handoff Checklist | Return to Contents
Information entered in the table below are linked to Sheet 4.
System Name | Contact Person | Position | Phone Number | Email Address
Additional Information About Neighboring Systems |  | Neighboring Systems Contacts on Sheet 4 | Return to Handoff Checklist | Return to Contents
Information entered in the first 4 columns of the table below are linked to Sheet 4.
System Name | Are Your Systems Interconnected? | Do you have any emergency agreements with them? | When should they be contacted? | How far is the system for your system? | Do you know what type of treatment/chemicals are used at the neighboring system? If yes, list them.
0
0
0
0
0
0
0
0
0
0
0

## 18. Other Information
Other Information
{Entered Name Links to Other Sheets} | Return to Handoff Checklist
Return to Contents Tab
What other information do you feel would be helpful for us to know about your position?